FIRE ALARM SYSTEM MONTHLY TEST RECORD
Every month the following tests shall be conducted and if a fault is established appropriate corrective action shall be taken.  (Initial each area.)

	Month
	(A) 

Manual Pull Stations
	(B) 

Bells
	(C) Annunciator
	(D)

Trouble Signal
	(E)

Battery Condition
	Date
(mm/dd/yy)
	Signature

	January
	
	
	
	
	
	
	

	February
	
	
	
	
	
	
	

	March
	
	
	
	
	
	
	

	April
	
	
	
	
	
	
	

	May
	
	
	
	
	
	
	

	June
	
	
	
	
	
	
	

	July
	
	
	
	
	
	
	

	August
	
	
	
	
	
	
	

	September
	
	
	
	
	
	
	

	October
	
	
	
	
	
	
	

	November
	
	
	
	
	
	
	

	December
	
	
	
	
	
	
	


(A)
One (1) alarm initiating pull station device shall be operated on a rotational basis and shall initiate an alarm condition.

(B)
Intended function of all alarm audible signal appliances (bells) shall be ensured.

(C)
The annunciator panel shall be checked to ensure that the tested devices annunciate correctly.

(D)
Intended function of audible and visual trouble signals shall be ensured.

(E)
Fire alarm batteries shall be visually inspected.
suite 210, building 151, 10090 - 152 street

surrey,   british columbia   v3r 8x8

telephone:  (778) 863-7147

facsimile:   (604-552-7909

url: www.anubissystems.com

email: sales@anubissystems.com
[image: image1.wmf]
Anubis


s y s t e m s    t e c h n o l o g i e s
�








